## Sheet1
Monthly | HVAC: Vacuum & Dust
Garbage Disposal: Crush ice (sharpens the blades), baking soda & citrus fruit rinds (freshens)
Range Hood Fan: check & clean
Plumbing: Check for leaks on supply lines to sinks & toilets
Semi-Annual | Electrical: Clean circuit breaker
Plumbing: Clean main water line shutoff valve (exterior)
Kitchen Cabinets: Clean & Polish
Stove & Oven: Clean
Annual | Holiday Decorations: Organize, Pack & Put away
Monthly | HVAC: Vacuum & Dust
Garbage Disposal: Crush ice (sharpens the blades), baking soda & citrus fruit rinds (freshens)
Range Hood Fan: check & clean
Plumbing: Check for leaks on supply lines to sinks & toilets
Bi-Monthly | Window Blinds: Dust
Ceiling Fats & Lighting Fixtures: Clean
Semi-Annual | Sinks, Shower & Tub: Repair grout around
Doors: Tighten & lubricate bi-folding doors
Electrical: Test & re-set all ground fault circuit interrupter receptacles, check all extension cords
Monthly | HVAC: Vacuum & Dust
Garbage Disposal: Crush ice (sharpens the blades), baking soda & citrus fruit rinds (freshens)
Range Hood Fan: check & clean
Plumbing: Check for leaks on supply lines to sinks & toilets
Generator: Operational Check - Run for 20 minutes minumum
Quarterly | Curtains: Clean & Vacuum
Fire Extinguisher: place near kitchen, check the charge
Fridge: Vacuum behind, clean coils
Baseboards & Doors: Clean & Touch-up for paint
Semi-Annual | Smoke & Carbon Monoxide Detectors: Check batteries
Electrical: Test & rest all ground fault circuit interrupter receptacles, check all extension cords
Weatherstripping & Windows: Check all caulking for seperations & cracks, re-caulk
Monthly | HVAC: Vacuum & Dust
Garbage Disposal: Crush ice (sharpens the blades), baking soda & citrus fruit rinds (freshens)
Range Hood Fan: check & clean
Plumbing: Check for leaks on supply lines to sinks & toilets
Bi-Monthly | Window Blinds: Dust
Ceiling Fats & Lighting Fixtures: Clean
Semi-Annual | House: Walk around looking for problems; paint, shingles, foundation, etc.
Doors: Tighten & lubricate bi-folding doors
Annual | Air Conditioning: Schedule service appointment
Lawn: Aerate & Fertilize
Sprinkler System: Turn on, make adjustments & repairs
Landscaping: After plants are established set back irrigation
Monthly | HVAC: Vacuum & Dust
Garbage Disposal: Crush ice (sharpens the blades), baking soda & citrus fruit rinds (freshens)
Range Hood Fan: check & clean
Plumbing: Check for leaks on supply lines to sinks & toilets
Semi-Annual | Tile: Seal the grout (do every 6 months)
Clothes Dryer: Check on vents & hoses for lint
Annual | Deck: Apply preservative sealer, clean, repair, check bolts, tighten
House: Hose down exterior
Windows: Wash & clean sills, inside & out
Landscaping: Plant annuals & perrenials
Monthly | HVAC: Vacuum & Dust
Garbage Disposal: Crush ice (sharpens the blades), baking soda & citrus fruit rinds (freshens)
Range Hood Fan: check & clean
Plumbing: Check for leaks on supply lines to sinks & toilets
Bi-Monthly | Window Blinds: Dust
Ceiling Fats & Lighting Fixtures: Clean
Quarterly | Curtains: Clean & Vacuum
Fire Extinguisher: place near kitchen, check the charge
Fridge: Vacuum behind, clean coils
Garage: Remove old paints & flammables
Fences: Repair & paint
Fridge: Test door tightness (use a dollar bill and pull it out of the fridge after closing the door on it)
Monthly | HVAC: Vacuum & Dust
Garbage Disposal: Crush ice (sharpens the blades), baking soda & citrus fruit rinds (freshens)
Range Hood Fan: check & clean
Plumbing: Check for leaks on supply lines to sinks & toilets
Semi-Annual | Electrical: Clean circuit breaker
Plumbing: Clean main water line shutoff valve (exterior)
Kitchen Cabinets: Clean & Polish
Stove & Oven: Clean
Annual | Garage: De-clutter & donate
Artificial Plants: Clean
Monthly | HVAC: Vacuum & Dust
Garbage Disposal: Crush ice (sharpens the blades), baking soda & citrus fruit rinds (freshens)
Range Hood Fan: check & clean
Plumbing: Check for leaks on supply lines to sinks & toilets
Bi-Monthly | Window Blinds: Dust
Ceiling Fats & Lighting Fixtures: Clean
Semi-Annual | Sinks, Shower & Tub: Repair grout around
Doors: Tighten & lubricate bi-folding doors
Electrical: Test & re-set all ground fault circuit interrupter receptacles, check all extension cords
Annual | Water Heater: Remove water heater residue following the manual
Carpets: Clean
Monthly | HVAC: Vacuum & Dust
Garbage Disposal: Crush ice (sharpens the blades), baking soda & citrus fruit rinds (freshens)
Range Hood Fan: check & clean
Plumbing: Check for leaks on supply lines to sinks & toilets
Quarterly | Curtains: Clean & Vacuum
Fire Extinguisher: place near kitchen, check the charge
Fridge: Vacuum behind, clean coils
Semi-Annual | Smoke & Carbon Monoxide Detectors: Check batteries
Electrical: Test & rest all ground fault circuit interrupter receptacles, check all extension cords
Weatherstripping & Windows: Check all caulking for seperations & cracks, re-caulk
Generator: Operational Check - Run for 20 minutes minumum
Annual | A/C: Shut off, clean and cover til spring
Garden: Rake leaves dispose of mulch
Weatherstripping & Windows: Check all caulking for seperations & cracks, re-caulk
Fridge: Test door tightness (use a dollar bill and pull it out of the fridge after closing the door on it)
Heating: Have the heating system serviced (always do in fall)
Monthly | HVAC: Vacuum & Dust
Garbage Disposal: Crush ice (sharpens the blades), baking soda & citrus fruit rinds (freshens)
Range Hood Fan: check & clean
Plumbing: Check for leaks on supply lines to sinks & toilets
Bi-Monthly | Window Blinds: Dust
Ceiling Fats & Lighting Fixtures: Clean
Semi-Annual | House: Walk around looking for problems; paint, shingles, foundation, etc.
Doors: Tighten & lubricate bi-folding doors
Annual | Garden: Plant new trees and lay sod (good deals this time of year)
Garden: Trim branches & shrubs
Garden: Winterize perrenials, clean annuals out
Heater: Operational Check
Sprinklers: Turn off and disconnect water hoses (before 1st freeze)
Splash Blocks: Clean
Hot Water heater: Drain & remove sediment (do in fall)
Monthly | HVAC: Vacuum & Dust
Garbage Disposal: Crush ice (sharpens the blades), baking soda & citrus fruit rinds (freshens)
Range Hood Fan: check & clean
Plumbing: Check for leaks on supply lines to sinks & toilets
Semi-Annual | Tile: Seal the grout (do every 6 months)
Clothes Dryer: Check on vents & hoses for lint
Monthly | HVAC: Vacuum & Dust
Garbage Disposal: Crush ice (sharpens the blades), baking soda & citrus fruit rinds (freshens)
Range Hood Fan: check & clean
Plumbing: Check for leaks on supply lines to sinks & toilets
Bi-Monthly | Window Blinds: Dust
Ceiling Fats & Lighting Fixtures: Clean
Quarterly | Curtains: Clean & Vacuum
Fire Extinguisher: place near kitchen, check the charge
Fridge: Vacuum behind, clean coils
House: Roof & exterior check
The Homeowner's Yearly Checklist
January
february
march
april
may
june
july
august
september
october
november
december